## Slide 1
FootScan AI
AI-Assisted Diabetic Foot Ulcer Segmentation and Triage Dashboard
Project Overview
BY : PRASANNA T (E0423028)

## Slide 2
The Clinical Problem
537 million adults worldwide live with diabetes
19% to 34% of people with diabetes will develop a foot ulcer in their lifetime
Diabetic foot ulcers (DFUs) require regular monitoring of size, shape, and tissue condition
Wound tracking today is largely manual — notes and visual comparison of photos
Clinicians need a fast, repeatable, low-cost way to measure wounds and track healing over time

## Slide 3
What FootScan AI Does
A web dashboard and API where a user uploads a photo of a foot wound
The system automatically segments the wound and analyzes it
Produces objective measurements instead of a clinician's visual estimate
Tracks the same patient's wounds over multiple visits to show healing progress
Generates a downloadable PDF report summarizing the findings

## Slide 4
Key Features
Wound Segmentation — deep learning model outlines the exact wound boundary
Shape & Area Analysis — measures wound area, shape, and tissue color
Severity Scoring — heuristic SINBAD-style score and healing-time estimate
Before / After Comparison — two scans compared to calculate area change
Healing Tracker — per-patient scan history saved and queryable
PDF Report — one-click downloadable report with images and metrics

## Slide 5
How It Works
Step 1 — Upload: a foot photo is submitted via the dashboard or the API
Step 2 — Segment: a ResNet34-UNet model produces a pixel-level wound mask
Step 3 — Analyze: pure-function analysis computes area, shape, tissue color, and severity
Step 4 — Persist & Report: results are saved per patient in a database and a PDF report can be generated on demand
One backend process serves both the dashboard and the REST API, so there is no duplicated logic

## Slide 6
Technology Stack
Backend: FastAPI (Python)
Dashboard: Gradio, mounted onto the same FastAPI app
Model: ResNet34-UNet segmentation model built with PyTorch
Database: SQLite via SQLAlchemy (patients and scan history)
Deployment: Dockerized, GPU-aware with automatic CPU fallback
CI/CD: GitHub Actions workflow, ruff for linting

## Slide 7
System Architecture
backend/footscan/ml — model loading and image preprocessing
backend/footscan/analysis — pure functions for shape, color, and severity scoring
backend/footscan/reports — PDF report generation
backend/footscan/db — database models and session handling
backend/footscan/service — orchestrates ML, analysis, and persistence for both API and UI
backend/footscan/api — REST endpoints under /api, plus /health
backend/footscan/ui — the Gradio dashboard

## Slide 8
Current Status
Verified working end-to-end as of September 28, 2026
All three UI tabs tested live against the real model and a real database
Advanced Analysis, Before & After, and Healing Tracker all confirmed correct
PDF reports downloaded and their embedded images and metrics verified
Full automated test suite (26 tests, unit + integration) passes
Code is clean under linting (ruff check passes)

## Slide 9
Limitations & Clinical Disclaimer
This is a research / demo application — it is not a certified medical device
It has not been clinically validated or FDA cleared
The severity score, healing-time estimate, and tissue-color classification are heuristics, not sourced from a validated clinical guideline
Model accuracy has not yet been benchmarked against a held-out clinical test set
No multi-user authentication, roles, or audit log — not sufficient for regulated, multi-tenant use
Always defer to a qualified clinician — do not use this to make real treatment decisions

## Slide 10
What's Next
Benchmark model accuracy (Dice / IoU) against a held-out clinical dataset
Replace heuristic scoring with a scoring method sourced from a validated clinical guideline
Add authentication, user roles, and an audit log for multi-user or regulated deployments
Add rate limiting and tighten CORS settings before any public deployment
Pursue clinical validation and evaluate a regulatory pathway (e.g. FDA)